CRM-001-2

NWIS Clinical Risk Management Process Toolkit

Step 2 - Clinical Risk Assessment and Analysis

Version No. 1.0 Status: Final Author: P Edwards Approver: Martin Murphy Date: 17/12/14 Next Review Date: 17/12/15 NHS Wales Informatics Service Headquarters Ty Glan-yr-Afon 21 Cowbridge Road East Cardiff CF11 6SS Telephone: 029 20500500 www.wales.nhs.uk/nwis

TABLE OF CONTENTS

1	DOCUMENT HISTORY	3

1.1	Revision History	3

1.2	Reviewers	3

1.3	Authorisation	3

1.4	Document Location	3

2	PURPOSE	4

3	BACKGROUND	4

4	ROLES AND RESPONSIBILITIES	4

5	PROCEDURE	5

5.1	Clinical Risk Assessment and Analysis	5

5.2	Clinical Risk Management File	8

6	REFERENCES	8

7	DEFINITIONS	9

8	ATTACHMENTS	10

# DOCUMENT HISTORY

## Revision History

| Date | Version | Author | Revision Summary |
| --- | --- | --- | --- |
| 06/10/2014 | d0-1 | Bethan Osborne | Transfer into individual SOP templates |
| 16/10/14 | d0-1 | Peggy Edwards | Review |
| 08/01/15 | 1.0 |  | Approval Executive Directors |

## Reviewers

This document requires the following reviews:

| Date | Version | Name | Position |
| --- | --- | --- | --- |
| 16/10/14 | 0.1 | Mike Ogonovsky | Head of Health & Social Care Informatics |

## Authorisation

Signing of this document indicates acceptance of its contents.

| Author’s Name: | P Edwards |  |  |
| --- | --- | --- | --- |
| Role: | Clinical Risk Manager |  |  |
| Signature: |  | Date: | 08/01/15 |

| Approver’s Name: | Martin Murphy |  |  |
| --- | --- | --- | --- |
| Role: | Clinical Director |  |  |
| Signature: |  | Date: | 08/01/15 |

## Document Location

| Type | Location |
| --- | --- |
| Electronic |  |
| Hard Copy |  |

# PURPOSE

NHS Wales Informatics Service shall establish, document and maintain throughout the life-cycle an ongoing process for identifying hazards associated with a product, estimating and evaluating the associated risks, controlling these risks, and monitoring the effectiveness of the controls. This process shall include the following elements:

- Phase one – risk acceptability

- Phase two – risk analysis

- Phase three – risk evaluation

- Phase four – risk control/ mitigation

This step of the Clinical Risk Management Process is the initiation of that ongoing process.

Prior to the approval (NADB 2) to build a new product or the redesign of an existing product a clinical risk assessment must take place. This is achieved by undertaking patient safety workshops (workshops) with actual or potential end users (mainly clinical) of the product. The aim of the workshops is to identify the clinical risks associated with the product or service, that have the potential to cause harm to patients as a result of the functionality, the intended use and / or reasonably foreseeable misuse of the product. Technical risks such as data migration etc. will form part of the technical assurance processes.

# BACKGROUND

The aim of the clinical risk management process is to ensure that all relevant NWIS products, services and applications are designed and manufactured in such a way that, when used under the conditions and for the purposes intended, they will not compromise:

- the clinical condition or the safety of patients, or

- the safety and health of users of the products or services or

- those persons who may indirectly be affected by the products or services.

Furthermore the process will ensure where risk exists it is at an acceptable level when assessed against the benefits to the patient. This step of the process follows the approval of the Clinical Risk Management Plan.

# ROLES AND RESPONSIBILITIES

| Role | Responsibility |
| --- | --- |
| Project Manager | - Liaise with Clinical Risk Manager to arrange patient safety activities e.g. for format of the workshop - Provide documentation at appropriate stages - Identify delegates for the workshop - Attend the workshop to provide background information on the project etc as well as answering questions on the day. - A demonstration of the product to the delegates - Note taking (although the risk register will be generated by the Clinical Risk Manager and support staff). - Ensuring that there is sufficient expertise available to ensure technical questions and mitigations can be explained and understood - If the nature of the project changes, during the development or modification of the product, then a Highlight Report must be submitted |
| Project Board | - Inform and approve processes and documentation to assure PSAB/NADB |
| Clinical Risk Manager | - Advice on clinical risk management process and documentation - Send invites for workshops at least six weeks in advance - Provide administration support during the workshop to develop the risk register - Facilitate the workshop (or identify a facilitator) - Provide a Clinical Risk Register within a week after the final workshop - Work with the project manager on an ongoing basis to review and populate the risk register as required |
| Head Health & Social Care Informatics | - Ensure the Clinical Risk Management Process is supported, resourced and adhered to |
| Director responsible for clinical safety | - Provide strategic leadership for the Clinical Risk Management Process |
| Patient Safety Approval Board (PSAB) | - Advised on the progress of the project and be informed of any high risks |

# PROCEDURE

## Clinical Risk Assessment and Analysis

The workshops must take place early in the product development phase to usefully inform the build or procurement of the product; however the development of the product should be sufficiently developed for workshop attendees to be in a position to make a realistic assessment of the potential clinical risks which could result from the products use.

### Patient Safety Workshop

- If using an agile approach it is during the Scoping phase, when the user story(s) have been collated and prioritised and before the commencement of any development the first workshop should take place. Initial risk assessment should be carried out in parallel with the original user story capture, elaboration and initial software scoping phase of the overall HIT development programme.

- There should be a minimum of two workshops, unless no unacceptable risks are identified; then one workshop is appropriate;

- Workshop one: to identify and score risks (analysis and evaluation) – depending on the complexity of the product several workshops may be needed to explore all the functionality,

- Workshop two: to review mitigations and score the residual risks (risk controls and evaluation).

- The format of the workshop will be agreed between the NWIS Clinical Risk Manager and the project manager e.g. web ex / face-to-face etc.

- Invites must be sent out with at least eight weeks’ notice to ensure clinical staff can make the appropriate arrangements with their employers.

- Workshop participants will be identified jointly between the project manager and the Clinical Informatics directorate, they are expected to have:

- Knowledge of the clinical area / clinical process the product is being designed to support;

- An understanding of the context in which the product will be used; and

- Knowledge of the functionality of the software, in particular where failure may occur or where possible deviation from expected performance may arise.

- The project manager must supply sufficient information for the workshop delegates to be aware of the purpose and scope of the product to be assessed. This can be in many forms; a briefing, prepared presentation sent in advance, access to training modules to set the context of the product e.g. Welsh Clinical Portal, diagrams, flowcharts etc. which will furnish the reader with a concise background to the product. Co-dependencies will also need to be set out in advance to ensure the delegates are aware of how the proposed product interacts with existing or other proposed systems.

- Background information on the Clinical Risk Management Process for workshop delegates will be provided.

- The main outcome of the clinical risk assessment will be the creation of a Clinical Risk Register which will be continually updated throughout the life cycle of the product.

- The Clinical Risk Register will be used to inform the development of the Clinical Risk Assessment report i.e. step 3 of the Clinical risk management process.

### Clinical Risk Assessment

### Phase one – risk acceptability

The first phase of the clinical risk assessment process is the determination of levels of risk that would be acceptable; the NWIS Risk Management Strategy and Policy sets out the acceptability criteria.

- Phase two – risk analysis

This is the purpose of the workshop; the delegates will review the development through the use of screen shot, mock up, wireframes etc. They will use their experience and knowledge of the current clinical and business processes to identify whether the proposals introduce any risks to the patients, organisations etc.

- Phase three – Risk Evaluation

In the third phase of the risk assessment process using the risk scoring matrix; the consequence and likelihood of the risk will be considered, the estimated risks will then be compared to the risk acceptability criteria. Workshop delegates will use their experience to inform this analysis. This comparison will determine an appropriate level of risk reduction, if necessary. This is called risk evaluation. The combination of risk analysis and risk evaluation is called risk assessment.

- Phase four – Risk Control / mitigation

NWIS must establish actions, i.e. risk control measures, intended to eliminate or reduce each risk to meet the previously determined risk acceptability criteria. Within the limits of feasibility, one or more risk control measures may be incorporated in order to achieve this end. Risk control activities may begin as early as design input and continue through the design and development process, manufacturing, distribution, installation, servicing and throughout the product life cycles. A hierarchy of risk control measures should be examined in the following order:

- Inherent safety by design;

- Protective measures in the device or its manufacture;   Information for safety, such as warnings, etc.

- Training

This approach will then ensure all unacceptable risks have been reduced to an acceptable level. Risk controls will be evaluated at the second patient safety workshop if unacceptable risks are identified.

For an agile approach on-going risk assessment processes should be included in sprint activities throughout the development life cycle, and are essential in providing further means of hazard identification and risk reduction. Accurate cross referencing using unique identifier(s) should be used to maintain traceability between User Stories and related identified risks. This will also ensure traceability throughout the systems life cycle.

NB Clinical risk assessment is an iterative process and further detailed risk assessment will be required in advance of each development and build activity.  Outcomes of risk assessments either as a consequence of clinical risk workshops, or through the emergence / identification of risks at either prototype or pilot phases of the project or product development will be logged in the Clinical Risk Register. An example would be a review of the outcome of the technical testing; any test issues identified as having a potential impact on patient safety will be assessed and in the event that modifications to the product are necessary reprioritisation based on clinical risk and testing categorisation will occur.

## Clinical Risk Management File

For each NWIS product or service a Clinical Risk Management File will be established and maintained, the risk management file shall provide documentation and traceability for each identified risk to ensure the following has been undertaken:

- Clinical risk plan (this document) approved on behalf of the Patient Safety Approval Board (PSAB)

- Clinical risk workshops

  - the risk analysis;

  - the risk evaluation;

  - the implementation and verification of the risk control measures;

  - the assessment of the acceptability of any residual risk(s).

- Clinical risk assessment report /register

- Clinical safety case report

- Post Pilot Review Report

- Pre-release stage report

Collectively the reports outlined above are referred to as the Clinical Risk Management File, the reports for each project are held electronically on the NWIS main server (P drive) and hard signed copies kept on file by  the Clinical Risk Manager.

# REFERENCES

| Document | Version |
| --- | --- |
| CRM-001 Clinical Risk Management Process | 2.0 |
| Clinical Risk Manager-001-1 Step 1 - Developing a Clinical Risk Management Plan | 1.0 |
| BS EN ISO 14971:2012 ‘Medical Devices – Application of risk management to medical devices | 2012 |
| ISO/TS 29321 ‘Application of clinical risk management to the manufacture of health software’ | 2.0 |
| ISO 31000:2009 Risk Management – Principles and Guidelines | 2009 |
| NPFIT-FNT-TO-TOCLNSA-1306.02 CRM Agile Development Implementation Guidance | 1.0 |
| National Architecture Design Board Product Assurance Process July 2010 | 1.0 |
| Velindre NHS Trust Risk Assessment & Risk Register Policy | 1.0 |
| NWIS Risk Management Policy & Strategy | 6.0 |

# DEFINITIONS

| Term | Definition |
| --- | --- |
| Clinical risk | Combination of the severity of harm to a patient and the likelihood of occurrence of that harm |
| Clinical risk analysis | Systematic use of available information to identify and estimate a risk. |
| Clinical risk control | Process in which decisions are made and measures implemented by which clinical risks are reduced to, or maintained within, specified levels. |
| Clinical risk estimation | Process used to assign values to the severity of harm to a patient and the likelihood of occurrence of that harm. |
| Clinical risk evaluation | Process of comparing a clinical risk against given risk criteria to determine the acceptability of the clinical risk. |
| Clinical risk management | Systematic application of management policies, procedures and practices to the tasks of analysing, evaluating and controlling clinical risk. |
| Clinical Risk Management File | Repository of all records and other documents that are produced by the clinical risk management process. |
| Clinical Risk Management Plan | A plan which documents how the organisation will conduct clinical risk management of HIT Systems. |
| Clinical safety | Freedom from unacceptable clinical risk to patients |
| Daily Scrum | - A meeting to bring all team members up to date on the information that is vital for coordination: each team members briefly describes any completed contributions and any obstacles that stand in their way |
| Harm | Death, physical injury, psychological trauma and/or damage to the health or wellbeing of a patient. |
| Hazard | Potential source of harm to a patient |
| Health IT System | Product used to provide electronic information for health or social care purposes. The product may be hardware, software or a combination. |
| Likelihood | Measure of the occurrence of harm. |
| Lifecycle | All phases in the life of a HIT System, from the initial conception to final decommissioning and disposal. |
| Quality Management System | Is a management technique used to communicate to employees what is required to produce the desired quality of products and services and to influence employee actions to complete tasks according to the quality specifications. |
| Risk Register | Repository to record the results of the clinical risk analysis and clinical risk evaluation. |
| Wireframe | Also known as a page schematic or screen blueprint, is a visual guide that represents the skeletal framework of a website. Wireframes are created for the purpose of arranging elements to best accomplish a particular purpose |

# ATTACHMENTS